A Candidate Guide for the Pennsylvania Tank Installer and Inspector Certification Examinations

Plut Examination Services

820 Struble Road

State College, PA 16801

(814) 237-2765

866-758-8396 (866PLUTEXM) Toll-Free

Under Agreement with:

Commonwealth of Pennsylvania

Department of Environmental Protection

Bureau of Land Recycling and Waste Management

Division of Storage Tanks

400 Market Street

P.O. Box 8762

Harrisburg, PA 17105-8762

Toll Free (in PA Only) 800-42-TANKS or

(717) 772-5599

I.  Examination Overview

All individuals testing for a Pennsylvania Tank Installer or Inspector Certification will be required to take both an Administrative Examination and at least one Technical Examination.

The Administrative Exam tests the knowledge of candidates on Pennsylvania’s storage tank laws and regulations.  The examination will be open-book.  Therefore, you will be allowed to use Act 32, as amended, and Chapter 245 during the exam.

The Technical Exams cover information specific to the specialty areas of tank modifications/installations/removals and inspections.  There are 12 different exams or modules, which cover the Pennsylvania certification categories.  It may be necessary for a candidate to take more than one Technical Exam if he/she is applying for more than one certification category (see the section in this booklet on Examination Structure).  These exams are not open-book exams; therefore, the use of notes and/or reference materials during the technical exams will be strictly prohibited.

The Administrative and Technical Exams have slightly different formats.  The Administrative Exam consists of 30 questions, all four alternative multiple-choice.  The Technical Exams consist of 60 multiple-choice questions.  Candidates average an hour to take each module, however, no one will be required to turn in the test materials until time allotted for the day has been completed.

You will receive a separate score for the Administrative Exam and for each Technical Exam.  A score of 80 percent is required to pass the Administrative Exam, and a score of 80 percent is required to pass the Technical Exams

II.  Examination Questions

For each multiple-choice question, there are four possible answers.  Only one of the possible choices is the correct answer.  Questions vary in form and difficulty.  The following descriptions of the major types of exam questions are included to guide you in preparing for the exams.  Answers to example questions are found on page 4.

Questions Types:

1. Some questions describe a procedure or give a definition, and ask you to decide whether the procedure or definition is correct.  If the procedure or definition is incorrect, you will be asked to choose the answer that explains why it is incorrect.

Example:

Secondary containment is commonly used to prevent leaking of fluids into the subgrade and into the groundwater below.  This statement is:

a. correct.

b. incorrect; cathodic protection is more commonly used.

c. incorrect; emergency relief is more commonly used.

d. incorrect; emission control is more commonly used.

2. Some questions ask you to fill in the blank with a choice that will make a statement True or Correct.

Example:

According to manufacturer’s instructions, a pre-installation air/soap test should be completed for a minimum of _______ minutes.

a. 15

b. 30

c. 45

d. 60

3. Some questions ask you to choose one True or Correct statement out of four statements.  Other questions ask you to choose the one statement out of the four statements that is Not True or Not Correct.

Example:

All of the following are internal inspection techniques for determining tank bottom corrosion rates EXCEPT:

a. External ultrasonic measurement of the annular ring.

b. Analyzing results of scheduled internal inspections.

c. Obtaining material safety data sheet information.

d. Analyzing historical field data.

III.  Taking the Examination

Read each question very carefully.  Give special attention to key words such as Not, Better, Most and Least.  There are no "trick questions" on the exam.  Choose the one best answer for each question.

When you take the exam, you will have an exam booklet and a separate answer sheet.  For each question, fill in the circle on the answer sheet that matches the answer you choose.

If you must change an answer, be sure to make your erasures complete.  Any question with two responses will be counted as incorrect.

IV.  Examination Structure

There are 12 different exams that cover the Pennsylvania certification categories.  The Administrative exam is counted separately.  The following table shows which exam or exams you will be taking depending upon the category or categories you have applied for.

Each Technical Examination is arranged into 10 clusters of questions, each of which test your knowledge in a particular aspect of the activity for which you are seeking certification.

Each cluster has 6 questions.  A passing standard is set for each cluster depending on the difficulty of the questions that make up the cluster.  To be successful, you must pass at least 8 of the 10 clusters (80%).

An outline is provided for each of the examinations on the following pages.  These outlines list in detail the areas to be tested and the references from which the questions are drawn.  A composite list of examination references with complete titles and dates of publication follows the examination outlines.

Examination 				Will cover category or

Module					categories

___________				___________________

AC						ACVL

AD						ADMIN

AE						AMEX

AF						AFMX

AN						AMNX

AR						AMR AFR

AS						AMMX

IA						IAF IAM

IU						IUM

TL						TL

UR						UMR AMR

UT						UTT

UX						UMX

Answers to Example Questions on page 2 are:

Question		Answer

- a

- b

- c

# V.  ABOVEGROUND STORAGE TANK EXAMINATIONS

AC Examination

Cluster 1	Requirements of structural design and anchoring of large welded ASTs. (API 650 and API RP 12R1)

Cluster 2	Foundations and ringwalls for large ASTs. (API 620, API 650 and API RP12R1, NFPA 30)

Cluster 3	Requirements of site layout for construction of ASTs. (NFPA 30, The Pennsylvania Flammable and Combustible Liquids Handbook, and API RP12R)

Cluster 4	Cathodic protection of ASTs. (API 651)

Cluster 5	Recommended safety practices and proper entry of ASTs. (ANSI Z117, API 2015, API 2016, API 2003 API 2202)

Cluster 6	Requirements for grading and sub bases in the construction of large ASTs. (API 650 and API RP12R1)

Cluster 7	Requirements for repair, maintenance, and inspection of large welded ASTs. (API 653)

Cluster 8	Recommended working practices. (OSHA standards)

Cluster 9	Use and construction of vaults for ASTs. (Pennsylvania Flammable and Combustible Liquids Handbook, Sect. 14.1 & 14.2)

Cluster 10	Standard concrete construction practices. (API 650 and NACE RP 0187)

AE Examination

Cluster 1	Repair, alteration and inspection of ASTs. (API 620, API 12 R1, and API 653)

Cluster 2	Recommended entry practices for ASTs. (API 2015, API 2016)

Cluster 3	Product characteristics, harmful effects, and confined space entry in ASTs. (API 2003, API 2009, API 2015, API 2016, NFPA 30, API 2202, and ANSI Z117)

Cluster 4	Recommended work practices and electrical safety requirements in ASTs. (API 2003, API 2009, API 2015, API 2016, API 2350, and NFPA 30)

Cluster 5	Pumps and valves for ASTs.  (API 650, PEI RP200, and NFPA 30)

Cluster 6	Planning and accomplishment of new construction of ASTs. (API 620, API 650, and PEI RP200)

Cluster 7	Venting of ASTs. (PEI RP200, NFPA 30, API 12 R1, and the Pennsylvania Flammable and Combustible Liquids Handbook)

Cluster 8	Cathodic protection of ASTs. (API 651)

Cluster 9	Overfill requirement for ASTs.  (API 2350, PEI RP200, and NFPA 30)

Cluster 10	Requirements for tanks, piping and fittings for ASTs. (API RP12R1, NFPA 30, UL 142, and PEI RP200)

AF Examination

Cluster 1	Alteration and repair of tank shells. (API 653 Sections 9 and 12)

Cluster 2	Alteration and repair of tank bottoms, roofs, and the testing of repair integrity.  (API 650, API 653, API 2015, API 2016, API 2207, and API 620)

Cluster 3	Electrical and hot work safety.  (API 2003, API 2009, and API 2207)

Cluster 4	Construction and testing of new tank shells. (API 650)

Cluster 5	Construction of new tank bottoms, ringwalls, anchors and foundations. (API 650)

Cluster 6	Low pressure tank construction. (API 650 and API 620)

Cluster 7	Tank dismantling and reconstruction.  (API 653, Sections 8, 9 and 10 and API 2202)

Cluster 8	Safety factors in the inerting (vapor freeing) and entering of tanks.  (API 2015, API 2016, API 2202, ANSI Z117, and NIOSH)

Cluster 9	Fire safety. (NFPA 30 and the Pennsylvania Flammable and Combustible Liquids Handbook)

Cluster 10	Miscellaneous systems, appurtenances, and preparations for lining of ASTs.  (API 651, API 652, and API 2350)

AN Examination

Cluster 1	General knowledge of non-metallic tanks. (API RP12P, Guidelines – Snyder-Crown, and ASME RTP-1)

Cluster 2	Product Safety in non-metallic tanks. (API 2016 and API 2015)

Cluster 3	Non-metallic tank appurtenances. (API 2350, Guidelines – Snyder-Crown, and ASME RTP-1)

Cluster 4	Proper handling of non-metallic tanks. (API RP12P, Guidelines – Snyder-Crown, and the Xerxes' Manual)

Cluster 5	Testing of non-metallic tanks. (API RP12P, API 653, Guidelines – Snyder-Crown, and NFPA 30)

Cluster 6	Foundations for non-metallic tanks. (API 650 and ASME RTP-1)

Cluster 7	Personnel safety working with non-metallic tanks. (API 2015, NOISH, and API 2016)

Cluster 8	Linings and containment for non-metallic tanks. (API 652, NFPA 30, and the Pennsylvania Flammable and Combustible Liquids Handbook)

Cluster 9	Fire safety concerns with non-metallic tanks. (NFPA 30 and the Pennsylvania Flammable and Combustible Liquids Handbook)

Cluster 10	Inspection of non-metallic tanks. (API RP12P, ASME RTP-1, and the Xerxes' Manual)

AR Examination

Cluster 1	 Characteristics of the products stored in ASTs as this relates to the entry and cleaning during removal. (API 2015, API 2016)

Cluster 2	Procedures involved in entry and cleaning of ASTs during removal. (API 2015, API 2016)

Cluster 3	Inspection, repair, and alteration of ASTs as this relates to removal activities. (API 653)

Cluster 4	 Product safety. (API 2003, NFPA 30, NFPA 329, and Pennsylvania Flammable and Combustible Liquids Handbook)

Cluster 5	Recommended safety practices during the removal of ASTs. (API 2003, API 2009, ANSI Z117.1, and NFPA 30)

Cluster 6	Effects of past product storage on the dismantling and disposal of ASTs. (API 2015, API 2016 and API 2202)

Cluster 7	Appropriate procedures in handling, dismantling and disposal of ASTs. (API 2202, API 1604, and NFPA 326)

Cluster 8	Recommended safety practices when working in confined spaces. (NIOSH, API 1604, and API 2015, API 2016)

Cluster 9	Preparation of bottoms for hot work. (API 2207)

Cluster 10	Practices recommended for safe cutting. (API 2009)

AS Examination

Cluster 1	Site planning for installation of shop built ASTs.  (PEI RP-200, NFPA 30, Pennsylvania Flammable and Combustible Liquids Handbook)

Custer 2	Foundations and anchors for shop built ASTs.  (PEI RP-200, API 650, Pennsylvania Flammable and Combustible Liquids Handbook)

Cluster 3	Product handling safety in shop built ASTs. (PEI RP-200, NFPA 30, API 2015, API 2016, and API 650)

Cluster 4	Record keeping, inspections, and special types of shop built ASTs. (PEI

RP-200)

Cluster 5	Environmental and safety issues related to the installation and use of shop built ASTs. (PEI RP-200, API 2015, API 2016, NFPA 30, OSHA, and Pennsylvania Flammable and Combustible Liquids Handbook)

Cluster 6	Use of dikes and vaults in connection with the installation of shop built ASTs. (PEI RP-200 and NFPA 30)

Cluster 7	Pumps, valves, and pipes associated with the installation of shop built ASTs. (PEI RP-200 and NFPA 30)

Cluster 8	Fill pipes, gauges, and vents associated with the installation of shop built ASTs. (PEI RP-200, API 12 R1 NFPA 30, and the Pennsylvania Flammable and Combustible Liquids Handbook)

Cluster 9	Corrosion prevention and cathodic protection in shop built ASTs. (PEI RP-200 and API 651)

Cluster 10	Recommended entry practices for shop built ASTs. (API 2015, API 2016)

IA Examination

Cluster 1	Inspection of ASTs in terms of general suitability for service. (API 653 and API 12-R1)

Cluster 2	Inspection of ASTs in reference to reconstruction and dismantling for reconstruction. (API 653)

Cluster 3	Inspection of welds in ASTs. (API 653 and API 650)

Cluster 4	Record keeping in relation to the inspection of ASTs. (API 653)

Cluster 5	Construction of ASTs. (API 620 and API 650)

Cluster 6	Corrosion protection, tank foundations, and undertank leak detection in ASTs. (API 650 Appendices B & I, API 651, and the Pennsylvania Flammable and Combustible Liquids Handbook)

Cluster 7	Safety issues and requirements relevant to the inspection of ASTs. (NFPA 30, NFPA 70, and the Pennsylvania Flammable and Combustible Liquids Handbook)

Cluster 8	Alternate construction of ASTs. (API RP12D, API 12 R1, API RP12P, and

UL-142)

Cluster 9	Safety concerns during the inspection of ASTs. (API 2003, API 2009, API 2350, and API 2207)

Cluster 10	Coating and surface preparation in ASTs. (API 652, SSPC)

TL Examination

Cluster 1	General principles and procedures for the lining of ASTs. (API 652)

Cluster 2	Characteristics of linings for ASTs. (API 652)

Cluster 3	Problems and preparation procedures associated with the lining of ASTs (API 652)

Cluster 4	General principles and procedures for the lining of USTs. (API 1631 and Guidance 257-3120-001)

Cluster 5	Safety concerns arising from the work environment. (API 2015, API 2016 and API 2202.

Cluster 6	Safety concerns arising from the characteristics of the products stored in the tanks to be lined. (API 2015, API 2016, API 2202, and NFPA 30)

Cluster 7	Safety practices relevant to the lining of tanks. (API 2015, API 2016, SSPC, and NFPA 326)

Cluster 8	Confined spaces and recommended practices for entry. (API 2015, API 2016, ANSI Z117, API 2009, and NOISH)

Cluster 9	Surface preparation required prior to the lining of storage tanks. (SSPC)

Cluster 10	Miscellaneous aspects of storage tanks, in general, which are relevant to the activity of lining storage tanks. (API 651 and API 652)

VI.  UNDERGROUND STORAGE TANK EXAMINATIONS

UR Examination

Cluster 1	General principles and regulatory requirements related to UST closure/removal. (PA Code and Tank Closure)

Cluster 2	Regulatory requirements related to suspected releases and the temporary closure. (PA Code)

Cluster 3	Purging of USTs. (API 1604 and "Tank Closure Without Tears")

Cluster 4	Inerting of USTs. (API 1604 and "Tank Closure Without Tears")

Cluster 5	General procedures for the closure or removal of USTs. (API 1604, and "Tank Closure Without Tears")

Cluster 6	General procedures for the proper handling of USTs following closure or removal. (API 1604, and "Tank Closure Without Tears")

Cluster 7	Health and safety issues involved with working in or around the tank during closure or removal of USTs. (API 2015, API 2016, API 1604 and NFPA 326)

Cluster 8	Health and safety issues related to the products previously stored in USTs being closed or removed. (API 2015, API 2016, API 1604, NFPA 326)

Cluster 9	Tank layout and components as they pertain to closure and/or removal of USTs. (PEI RP100 and API 1615)

Cluster 10	Relevant guidance for the removal of USTs. (NFPA 30 and the Pennsylvania Flammable and Combustible Liquids Handbook)

UT Examination

Cluster 1	General principles involved in tank tightness testing. (EPA 530 and PEI RP100)

Cluster 2	Effects of product characteristics on the procedures involved in tank tightness testing. (EPA 530 and NFPA 329)

Cluster 3	Effects of structural characteristics of tanks on the principles and procedures involved in tank tightness testing. (EPA 530, PEI RP100, API 1615, and Containment Solutions 1604)

Cluster 4	Effects of piping and other appurtenances on the principles and procedures involved in tank tightness testing. (EPA 530 and NFPA 329)

Cluster 5	Data collection concerns and special problem effects involved in tank tightness testing. (EPA 530)

Cluster 6	Pre-installation tank tightness testing. (PEI RP100, Containment Solutions 1604, and manufacturer's recommendations)

Cluster 7	Regulations pertinent to tank tightness testing. (PA Code and EPA 530)

Cluster 8	Tank layout as it influences tank tightness testing. (PEI RP100 and API 1615)

Cluster 9	Piping layout as it influences tank tightness testing. (PEI RP100, API 1615, and PA Code)

Cluster 10	Piping tightness testing. (API 1615, PEI RP100, NFPA 329 and EPA 530)

UX Examination

Cluster 1	Practices and procedures involved in the anchoring of USTs. (PEI RP 100, API 1615, and Containment Solutions PE 6304)

Cluster 2	Practices and procedures involved in the testing  of USTs. (PEI RP 100, API 1615, PA Code, EPA 530, and Containment Solutions PE 6304)

Cluster 3	Practices and procedures for the installation of piping associated with USTs. (PEI RP 100, EPA 530, and API 1615)

Cluster 4	Excavating and backfilling associated with the installation of USTs. (PEI RP 100 and API 1615)

Cluster 5	Components and appurtenances associate with the installation of USTs. (PEI RP 100, API 1604, and API 1615)

Cluster 6	Tank characteristics and handling requirements during installation of USTs. (PEI RP 100, API 1615, and Fluid Containment PE 6304)

Cluster 7	Requirements for installation of piping associated with the installation of USTs. (PEI RP 100 and API 1615)

Cluster 8	Cathodic protection of USTs. (API 1632 and PEI RP100)

Cluster 9	Regulations and requirements for the installation of USTs. (PA Code and EPA 530)

Cluster 10	Safe practices and requirements in the installation of USTs. (NFPA 30 and the Pennsylvania Flammable and Combustible Liquids Handbook)

IU Examination

Cluster 1	Regulatory requirements related to leak detection equipment and methods for USTs. (PA Code and EPA 530)

Cluster 2	Regulatory requirements related to line tightness, piping, spill and overfill protection in USTs. (PA Code, EPA 530, and NFPA 329)

Cluster 3	Regulatory requirements related to tank tightness testing, activities and methods for USTs. (PA Code, EPA 530, and NFPA 329)

Cluster 4	Regulatory requirements related to special concerns such as record keeping and secondary containment for USTs. (PA Code and EPA 530)

Cluster 5	Special installation requirements such as venting, vapor recovery, observations, and spill containment. (PEI RP-100 and API 1615)

Cluster 6	Installation requirements for layout and anchoring of USTs. (PEI RP-100 and API 1615)

Cluster 7	 Special installation concerns for non-metallic tanks. (PEI RP-100, API 1615, and Containment Solutions PE 6304)

Cluster 8	Corrosion prevention and cathodic protection systems and requirements. (PA Code, NACE RP-0285, PEI RP-100, and API 1615)

Cluster 9	Regulations and requirements for tank closure and temporary closure. (PA Code and API 1604)

Cluster 10	Fire code regulations, requirements for UST systems. (NFPA 30, Pennsylvania Flammable and Combustible Liquids Handbook)

### VII.  Reference List

- Act 32 of 1989, as amended, The Storage Tank and Spill Prevention Act

- ANSI Z117.1-1995, June 6, 1995.  American National Standard Safety Requirements for Confined Spaces.

- API Publication 2009, Seventh Edition, February 2002.  Safe Welding, Cutting, Hot Work Practices in the Petroleum and Petrochemical Industries.

- API Publication 2015, Sixth Edition, August 2001. Requirement for Safe Entry and Cleaning of Petroleum Storage Tanks.

- API Publication 2202, Third Edition, January 1991. Dismantling and Disposing of Steel From Aboveground Leaded Gasoline Storage Tanks.

- API  Publication 2207, Fifth Edition, September 1998. Preparing Tank Bottoms for Hot Work.

- API Recommended Practice 12R1 (RP 12R1), Fifth Edition, October 1, 1997. Recommended Practice for Setting, Maintenance, Inspection, Operation and Repair of Tanks in Production Service.

- API Recommended Practice 1604, Third Edition, March 1996, Reaffirmed 2001. Closure of Underground Petroleum Storage Tanks.

- API Recommended Practice 1615, Fifth Edition, March 1996, reaffirmed 2001.  Installation of Underground Petroleum Storage Systems.

- API Recommended Practice 1631, Fifth Edition, June 2001.  Interior Lining and Periodic Inspection of Underground Storage Tanks.

- API Recommended Practice 1632, Third Edition, May 1996.  Cathodic Protection of Underground Petroleum Storage Tanks and Piping Systems.

- API Recommended Practice 2003, Sixth Edition, September 1998.  Protection Against Ignitions Arising Out Of Static, Lightning, and Stray Currents.

- API Recommended Practice 2016, First Edition, August 2001.  Guidelines for Procedures for Entering and Cleaning Petroleum Storage Tanks.

- API Recommended Practice 2350, Second Edition, January 1996.  Overfill Protection for Petroleum Storage Tanks.

- API Recommended Practice 651, Second Edition, December 1997.  Cathodic Protection of Aboveground Petroleum Storage Tanks.

- API Recommended Practice 652, Second Edition, December 1997.  Lining of Aboveground Petroleum Storage Tank Bottoms.

- API Specification 12D (Spec 12d), Tenth Edition, November 1994, Reaffirmed 2000.  Specification for Field Welded Tank for Storage of Production Liquids.

- API Specification 12P (Spec 12P), Second Edition, January 1, 1995.  Specification for Fiberglass Reinforced Plastic Tanks.

- API Standard 620, Tenth Edition, February 2002. Design and Construction of Large, Welded, Low-Pressure Storage Tanks.

- API Standard 650, Tenth Edition, November 1998 with Addendums.  Welded Steel Tanks for Oil Storage.

- API Standard 653, Third Edition, December 2001 with Addendums.  Tank Inspection, Repair, Alteration, and Reconstruction.

- ASME RTP-1-95 with Addendums1a-1e, Appendix NM-8, NM-9.

- Chapter 245, Administration of the Storage Tank and Spill Prevention Program.

- Commonwealth of PA Flammable & Combustible Liquids Handbook (Revised-1984).  Based on Title 37 - Law Part I.  State Police [37 PA Code Chs.11, 13, and 14].  Dept. of Labor and Industry (Boiler Section).

- EPA/530/UST-89/012, November 1989.  Detecting Leaks: Successful Methods Step-by-Step.

- EPA/530/UST-90-012, August 1990.  Straight Talk on Tanks: A summary of Leak Detection Methods for Petroleum Underground Storage Tank Systems.

- EPA/625/9-89/009, April 1989. Volumetric Tank Testing: An Overview.

- Containment Solutions.  Publication 6304.  Installation Instructions: Fiberglas® Reinforced Plastic Underground Storage Tanks.

- Guidelines For Use and Installation.

Snyder-Crown Industrial Products

- NACE Standard RP 0285-2002 (Item No. 21039).  Standard Recommended Practice, Corrosion Control of Underground Storage Tank Systems by Cathodic Protection0.

- NACE Standard RP 0187-1996 (Item No. 21034).  Standard Recommended Practice, Design Considerations for Corrosion Control of Reinforcing Steel in Concrete.

- NFPA 30, 2000 Edition (August 18, 2000).  Flammable and Combustible Liquids Code.

- NFPA 70, August 2, 2001.  National Electric Code 2002.

- NFPA 326, 1999 Edition (August 13, 1999).  Standard for the Safeguarding of Tanks and Containers for Entry, Cleaning, or Repair.

- NFPA 329, 1999 Edition (August 13, 1999).  Recommended Practice for Handling Releases of Flammable and Combustible Liquids and Gases.

- NIOSH Publication No. 87-113, July 1987.  A Guide to Safety in Confined Spaces.

- PA DEP Technical Guidance 257-3120-001

- PEI/RP 100-2000.  Recommended Practices for Installation of Underground Liquid Storage Systems.

- PEI/RP 200-99.  Recommended Practices for Installation of Aboveground Storage Systems for Motor Vehicle Fueling.

- SSPC, Good Painting Practice.  SSPC Painting Manual, Volumes 1 & 2 (4th Ed., 2002).

- Tank Closures Without Tears: An Inspector's Safety Guide.  May 1988 (reprinted May 1991) New England Interstate Water Pollution Control Commission, 85 Merrimac St., Boston, MA 02114.  May 1991.

- UL 142, Eighth Edition, 2002.  Steel Aboveground Tanks for Flammable and Combustible Liquids.

- 29 CFR 1910, 2002.  OSHA Safety and Health Standards.

- Xerxes Corporation.  Inspection, Handling, Installation, Operation and Maintenance of Xerxes Above Ground Tanks.

VIII.  Abbreviation List

List of abbreviations that may be found on the exams:

ANSI		American Nation Standards Institute

## API		American Petroleum Institute

ASME		American Society of Mechanical Engineers

ASNT		American Society for Nondestructive Testing

AST		Aboveground Storage Tank

ASTM		 American Society of Testing and Materials

AWS		American Welding Society

AWA		American Welding Association

cm/sec		centimeters per second

DEP		Department of Environmental Protection

EPA		Environmental Protection Agency

FRP		Fiberglass Reinforced Plastic

gal/hr		gallons per hour

mil		1/1000 inch or .0254 millimeter

NACE		National Association of Corrosion Engineers

NFPA		National Fire Protection Agency

OSHA		Occupational Health and Safety Administration

PEI		Petroleum Equipment Institute

SCFH		standard cubic feet of air per hour

STI		 Steel Tank Institute

UL		Underwriters Laboratory

UST		Underground Storage Tank

IX.  Source List for Publications

American National Standards Institute (ANSI)

25 W. 43rd Street

New York, NY  10036

Phone:  (212) 642-4900

Fax:  (212) 398-0023

Website:  www.ansi.org

American Petroleum Institute (API)

## 1220 L Street, Northwest

Washington DC 20005-4070

Phone:  (202) 682-8000

Fax:  (202) 682-8537

Website:  www.api.org

American Society of Mechanical Engineers International

P.O. Box 2300

Fairfield, NJ  07007-2300

Phone:  1-800-843-2763 or (973) 882-1167 (Mexico or outside North America)

Fax:  (973) 882-1717

Website:  www.asme.org

American Society for Nondestructive Testing

P.O. Box 28518

1711 Arlingate Lane

Columbus, OH 43228-0518

Phone:  1-800-222-2768 or (614) 274-6003

Fax:  (614) 274-6899

Website:  www.asnt.org

American Society for Testing and Materials International

100 Barr Harbor Drive, P.O. Box C700

West Conshohocken, PA  19428-2959

Phone:  (610) 832-9585

Fax:  (610) 832-9555

Website:  www.astm.org

American Welding Society

550 NW Le Jeune Road

Miami, FL 33126

Phone:  1-800-443-9353 or (305) 443-9353

Fax:  (305) 443-7559

Website:  www.aws.org

Centers for Disease Control

National Institute for Occupational Safety and Health (NIOSH)*

Robert A. Taft Laboratories

4676 Columbia Parkway

Cincinnati, OH 45226-1998

Phone:  1-800-356-4674

Fax:  (513) 533-8573

Website:  www.cdc.gov/niosh

Environmental Protection Agency (EPA)*		Environmental Protection Agency (EPA)*

Superintendent of Documents				Pittsburgh Gov’t. Printing Office Bookstore

U.S. Government Printing Office			Room 118, Federal Building

Robert Morris Building				1000 Liberty Avenue

100 N. 17th Street					Pittsburgh, PA  15222

Philadelphia, PA  19103				Phone:  (412) 395-5021

Phone:  (215) 636-1900				Fax:  (412) 395-4547

Fax:  (215) 636-1903					Website:  www.gpo.gov

Website:  www.gpo.gov

(Formerly Fluid Containment)

Containment Solutions, Inc.

470 Hawke Ridge Lane

Sykesville, MD  21784

Phone:  (410) 552-9343 or 1-877-274-8265

Fax:  (410) 552-1199

Website:  www.containmentsolutions.com

National Association of Corrosion Engineers (NACE) Intl.

1440 S. Creek Drive

Houston, TX  77084-4906

Phone:  (281) 228-6200 or 1-800-797-6223

Fax:  (281) 228-6300

Website:  www.nace.org

National Fire Protection Association (NFPA)

One Batterymarch Park

P.O. Box 9101

Quincy, MA  02169-7471

Phone:  1-800-735-0100 or (617) 770-3000

Fax:  (617) 770-0700

Website:  www.nfpa.org

New England Interstate Water Pollution Control Commission

Boott Mills South

116 John Street

Lowell, MA  01852

Phone:  (978) 323-7929

Fax:  (978) 323-7919

Website:  www.neiwpcc.org

Occupational Safety and Health Administration (OSHA)*	Pittsburgh Gov’t. Printing Office

Superintendent of Documents					Bookstore

U.S. Government Printing Office				Room 118, Federal Building

Robert Morris Building					1000 Liberty Avenue

100 N. 17th Street						Pittsburgh, PA  15222

Philadelphia, PA  19103					Phone:  (412) 395-5021

Phone:  (215) 636-1900					Fax:  (412) 395-4547

Fax:  (215) 636-1903						Website:  www.gpo.gov

Website:  www.gpo.gov

PA Department of Environmental Protection (DEP)

Bureau of Land Recycling and Waste Management

Division of Storage Tanks

P.O. Box 8762

Harrisburg, PA 17105-8762

Phone:  1-800-42-TANKS (in PA only) or (717) 772-5599

Fax:  (717) 772-5598

Website:  www.dep.state.pa.us (directLINK "Storage Tanks")

PA Department of Labor and Industry

Bureau of Occupational and Industrial Safety

Boiler Section

1614 Labor and Industry Building

Seventh and Forster Streets

Harrisburg, PA 17120

Phone: (717) 787-4713

Website:  www.dli.state.pa.us

Petroleum Equipment Institute (PEI)

P.O. Box 2380

Tulsa, OK 74101-2380

Phone: (918) 494-9696

Fax:  (918) 491-9895

Website:  www.pei.org

Snyder-Crown Industrial Products

Snyder Industries, Inc.

PO Box 4583

Lincoln, NE 68504-4853

Phone: (402) 467-5221

Fax: (402) 465-1220

Website: www.snydernet.com

SSPC:  The Society for Protective Coatings

40 24th Street, 6th Floor

Pittsburgh, PA 15222-4656

Phone:  1-877-281-7772 or (412) 281-2331

Fax:  (412) 281-9992

Website:  www.sspc.org

Steel Tank Institute (STI)

570 Oakwood Road

Lake Zurich, IL 60047

Phone: (847) 438-8265

Fax:  (847) 438-8766

Website:  www.steeltank.com

Underwriters Laboratories Inc. (UL)

333 Pfingsten Road

Northbrook, IL 60062-2096

Phone: (847) 272-8800

Fax:  (847) 272-8129

Website:  www.ul.com

Xerxes Corporation

7901 Xerxes Avenue South

Minneapolis, MN 55431

Phone:  (952) 887-1890

Fax:  (952) 887-1882

Website:  xerxescorp.com

* Check your local library for copies of government documents.

X.  The Scheduling Process

The examination sessions are scheduled at two sites in Pennsylvania.  You must be approved by DEP in advance of the test to sit for specific certification examination modules.  You will only be scheduled for modules you have been approved for by DEP.  DEP approval is based on experience or experience plus education.  Follow the instructions that are included with the enclosed scheduling form to indicate any changes in identifying information.

Be sure to comply with the application deadline dates listed on the application form.  The examinations are generally offered quarterly at two geographically distributed locations in Pennsylvania.

#### XI.  The Administrative Examination

The Administrative Exam is based on the following specific reference documents:

*	Pennsylvania Storage Tank and Spill Prevention Act (Act 32 of 1989, as amended.).

*	Title 25, Pennsylvania Code, Chapter 245 Administration of the Storage Tank and Spill Prevention Program: Subchapter A. General Provisions; Subchapter B. Certification Program for Installers and Inspectors of Storage Tanks and Storage Tank Facilities; and Subchapter D. Corrective Action Process for Owners and Operators of Storage Tanks and Storage Tank Facilities and Other Responsible Parties.

XII.  Directory of DEP Offices

Administrative Reference Documents may be obtained from any of the following DEP Storage Tank Offices:

Central Office

Commonwealth of Pennsylvania

Department of Environmental Protection

Bureau of Land Recycling and Waste Management

Division of Storage Tanks

P.O. Box 8762

400 Market Street

Harrisburg, PA 17105-8762

1-800-42-TANKS (for Pennsylvania residents only)

(717) 772-5599

Southeast Regional Office

2 E Main Street

Norristown, PA 19401

(484) 250-5900

Counties:  Bucks, Chester Delaware, Montgomery and Philadelphia

Northeast Regional Office

2 Public Square

Wilkes-Barre, PA 18711-0790

(570) 826-5475

Counties:  Carbon, Lackawanna, Lehigh, Luzerne, Monroe, Northampton, Pike, Schuykill, Susquehanna, Wayne and Wyoming

Southcentral Regional Office

909 Elmerton Ave.

Harrisburg, PA 17110

(717) 705-4705

Counties:  Adams, Bedford, Berks, Blair, Cumberland, Dauphin, Franklin, Fulton, Huntingdon, Juniata, Lancaster, Lebanon, Mifflin, Perry and York

Northcentral Regional Office

208 West 3rd Street, Suite 101

## Williamsport, PA 17701

(570) 321-6525

Counties:  Bradford, Cameron, Clearfield, Centre, Clinton, Columbia, Lycoming, Montour, Northumberland, Potter, Snyder, Sullivan, Tioga and Union

Southwest Regional Office

400 Waterfront Drive

Pittsburgh, PA 15222-4745

(412) 442-4000

Counties:  Allegheny, Armstrong, Beaver, Cambria, Fayette, Greene, Indiana, Somerset, Washington and Westmoreland

Northwest Regional Office

230 Chestnut Street

Meadville, PA 16335-3481

(814) 332-6648

Counties:  Butler, Clarion, Crawford, Elk, Erie, Forest, Jefferson, Lawrence, McKean, Mercer, Venango and Warren